## Sheet1
Object to Measure | Reference Source | Number of Measurements | Thermocouple Name | Measured Voltage (mV) | Observed Error (mV) | Calculated Error (mV) | Reference Voltage (mV) | Observed Ice Bath Voltage (mV) | Object's Voltage (mV) | Object's Uncertainty (mV)
Ice Bath | Ice bath | 3 | K | -2 | 0.66 | -5.69e-05 | 1.9741e-06 | -2 | -1.97e-06 | 0.93331
Room Air | Ice bath | 3 | K | 940 | 4 | 0.03774 | 1.9741e-06 | -2 | 902 | 5.6302
Body | ice bath | 10 | K | 1320 | 1 | 0.052835 | 1.9741e-06 | -2 | 1517 | 1.3774
Boiling water | Ice bath | 3 | K | 3330 | 3 | 1.3321 | 1.9741e-06 | -2 | 3876.8466 | 3.4325
Room air | CJC | 32 | k | 941.53 | 1.9979 | 2 |  | -2 | 939.53 | 1.9979
Room air | Boiling Water | 2 | K | 2872 | 1 | 0.11492 | 3662.1115 | -2 | 687.8649 | 1.3354
Boiling Water | CJC | 5 | k | 3858.1 | 8.1869 | 2 |  | -2 | 3856.1 | 10.2618
Note on H2: AlAmeri,Abdulla (EID):